| Date: 27 November 2017 SUBJECT: Answers 10 Dear Sirs, via e-mail we received questions from economic operators regarding the published tender documentation for public procurement no. JPE-RAZ-399/17 – SUPPLY AND INSTALLATION OF TWO GAS TURBO GENERATOR SETS AND TWO HEAT RECOVERY STEAM GENERATORS FOR THE COMBINED CYCLE POWER PLANT TOPLARNA LJUBLJANA – LOT 1. Below we provide you with answers or explanations to the questions received. In accordance with chapter 5.1. of Tender Documentation, integral part of tender documents include any changes, amendments and corrections of the tender documents and additional explanations and answers to questions of economic operators. | Datum: 27. 11. 2017 ZADEVA: Odgovori 10 Spoštovani, preko elektronske pošte smo prejeli vprašanja gospodarskih subjektov v zvezi z objavljeno razpisno dokumentacijo za javno naročilo št. JPE-RAZ-399/17 – DOBAVA IN POSTAVITEV DVEH PLINSKIH TURBOAGREGATOV IN DVEH PARNIH UTILIZATORJEV ZA PLINSKO PARNO ENOTO TOPLARNA LJUBLJANA – LOT 1. V nadaljevanju vam posredujemo odgovore oziroma pojasnila na prejeta vprašanja. V skladu s tč. 5.1 razpisne dokumentacije so sestavni del razpisne dokumentacije tudi vse morebitne spremembe, dopolnitve in popravki razpisne dokumentacije ter pojasnila in odgovori na vprašanja gospodarskih subjektov s strani naročnika. |
| --- | --- |
| QUESTION: We have received the following Tender notification and we would like to check if it can be of interest. We are a manufacturer of steam turbine (not Gas Turbine) : are there any steam turbine included in this tender? We do not understand if the steam turbine are already existing or not. Or if there will be a Lot2 including the steam turbines Thanks a lot! TI Ref. No. 429264544 Notice Type :Tender Notice Bidding Type International Competitive Bidding Project Location Slovenia Description Contract notice: Supply and installation of 2 gas turbine generators and 2 steam generators for the gas vapor unit toplarna ljubljana - lot 1. The subject of the public procurement procedure is the supply and installation of two (2) gas turbine generators and two (2) steam generators for the gas turbine unit toplarna ljubljana - lot 1, Which includes the supply, Assembly, Commissioning of a gas turbine and utilizer with associated equipment, Including all necessary construction parts and pipelines to the steam turbine and to the points of contact with existing devices. The offer for the long-term service of gas turboaggregates by the manufacturer of gas turbine generators - ltsa (2 main operating cycles, With the possibility of interruption after the first cycle) will also be an integral part of the offer. An offer for supplying a diesel generator - a 6 kv diesel generator for starting the gas turbine from a black start - is also an integral part of the offer. This contract is divided into lots: No time limit for receipt of tenders or requests to participate: Date: 24/11/2017 local time: 10:00 Organisation JAVNO PODJETJE ENERGETIKA LJUBLJANA D.O.O. (5226406000) Client Address 5226406000 Verovškova Ulica 62 Ljubljana 1000 Contact Person: Tina Bregar Tel: +386-14740858 Email_id: tina.bregar@jhl.si Tender Notice No. 423866-2017 Deadline 08-Dec-2017 ANSWER: Supply and installation of two gas turbo generator sets and two heat recovery steam generators for the combined cycle power Toplarna Ljubljana – LOT 1. There is no supply of steam turbine; LOT 2 used to be supply of steam turbine but since we refurbished the existing one (TA2), LOT 1 shall make connection to the existing steam turbine. | Prevod vprašanja: Prejeli smo naslednje obvestilo o ponudbi in želeli bi preveriti, ali je lahko zanimivo. Smo proizvajalec parne turbine (ne plinske turbine): ali je v tem razpisu vključena parna turbina? Ne razumemo, če parna turbina že obstaja ali ne. Ali pa, če bo z Lot2 vključena tudi parna turbina. TI Ref. No. 429264544 Notice Type :Tender Notice Bidding Type International Competitive Bidding Project Location Slovenia Description Contract notice: Supply and installation of 2 gas turbine generators and 2 steam generators for the gas vapor unit toplarna ljubljana - lot 1. The subject of the public procurement procedure is the supply and installation of two (2) gas turbine generators and two (2) steam generators for the gas turbine unit toplarna ljubljana - lot 1, Which includes the supply, Assembly, Commissioning of a gas turbine and utilizer with associated equipment, Including all necessary construction parts and pipelines to the steam turbine and to the points of contact with existing devices. The offer for the long-term service of gas turboaggregates by the manufacturer of gas turbine generators - ltsa (2 main operating cycles, With the possibility of interruption after the first cycle) will also be an integral part of the offer. An offer for supplying a diesel generator - a 6 kv diesel generator for starting the gas turbine from a black start - is also an integral part of the offer. This contract is divided into lots: No time limit for receipt of tenders or requests to participate: Date: 24/11/2017 local time: 10:00 Organisation JAVNO PODJETJE ENERGETIKA LJUBLJANA D.O.O. (5226406000) Client Address 5226406000 Verovškova Ulica 62 Ljubljana 1000 Contact Person: Tina Bregar Tel: +386-14740858 Email_id: tina.bregar@jhl.si Tender Notice No. 423866-2017 Deadline 08-Dec-2017 Prevod odgovora: Dobava in postavitev dveh plinskih turboagregatov in dveh parnih utilizatorjev za plinsko parno enoto Toplarna Ljubljana – LOT 1. Dobave parne turbine ni v obsegu del. V okviru LOT 2 je bila nekoč predvidena dobava nove parne turbine, ker pa smo obstoječo parno turbino TA2 obnovili, je v okviru obsega del LOT1 tudi povezava na to obstoječo parno turbino. |